{"text_format":"2","workbook":"xlsx","n_sheets":13,"sheets":["Overview","T9450 & T9460 Series","T9464CCAG","T9464LAS & T9464LCB","T9464LDR & T9464LES","T9464EE","T9454G Series","ES8450 Series","ES+BK Series","Retrofit Spindles ES8450R 9450R","TBK 9450 Series","TBK9454G Ser","TBK9454H Ser"],"not_rendered":{"charts":0,"images":40,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Overview","index":0,"n_rows":125,"n_cols":6,"rows_kept":125,"cut":false,"hidden":false,"merged":[[97,1,97,5],[100,3,103,3],[100,4,103,4],[100,1,103,1],[105,1,108,1],[105,3,108,3],[105,4,108,4],[100,5,103,5],[105,5,108,5],[0,1,0,5],[19,5,22,5],[19,4,22,4],[19,3,22,3],[5,2,5,5],[6,2,6,5],[7,2,7,5],[8,2,8,5],[9,2,9,5],[15,1,17,1],[19,1,35,1],[23,2,23,5],[24,3,26,3],[24,4,26,4],[24,5,26,5],[27,2,27,5],[28,3,30,3],[32,5,35,5],[31,2,31,5],[28,4,30,4],[28,5,30,5],[32,3,35,3],[32,4,35,4],[90,1,90,5],[51,3,53,3],[51,4,53,4],[91,1,94,1],[91,4,94,4],[91,5,94,5],[36,1,57,1],[55,3,57,3],[36,5,39,5],[41,5,42,5],[44,3,46,3],[51,5,53,5],[55,5,57,5],[48,3,49,3],[48,4,49,4],[44,4,46,4],[36,4,39,4],[36,3,39,3],[41,3,42,3],[41,4,42,4],[55,4,57,4],[70,0,124,0],[110,1,118,1],[122,3,124,3],[122,4,124,4],[122,5,124,5],[119,1,119,5],[122,1,124,1],[112,5,114,5],[112,4,114,4],[112,3,114,3],[116,5,118,5],[116,4,118,4],[116,3,118,3],[73,1,77,1],[80,1,82,1],[86,1,86,5]]}
[null,"Rego Short Stem Valves"]
[null,"Version 9-12-2020"]
[]
[null,"Standard colours for\nCylinders and Microbulk","Silver colour is for\nVenting Line","Blue colour is for\nLiquid Line","Green colour is for\nGasous Line","Red colour is for\nLNG Line"]
[null,"How to order the different\nhandwheels to the valve","T9452S = Silver\n","T9452B = Blue","T9452G = Green","T9452R = Red"]
[null,"Maximum Working Pressure","42 Bar"]
[null,"Temperature Range","-196°C  to  +74°C"]
[null,"Low Flow Applications","Liquid Cylinder  /  Micro Bulk  /  Bulk Tank  /  Trailer  /  Manifold  /  Tapping Point"]
[null,"Medium:  Gasous & Liquid","Nitrogen  /  Oxygen  /  Argon  /  Helium  /  CO2  /  Air  /  Natural Gas  /  LNG"]
[null,"Certification","PED  /  TPED  /  E4-110R (automotive)  /  EN-1626"]
[]
[null,null,"Inch","mm"]
[null,"Calculator Inch to mm",3.41,{"$f":"C13*25.4","v":86.614000000000004}]
[]
[null,"Product Picture","RegO Part Nr.","Inlet Connection","Outlet Connection","Remarks"]
[null,"Click picture for more info","T9452","1/4\" F.NPT","1/4\" F.NPT"]
[null,null,"T9453","3/8\" F.NPT","3/8\" F.NPT"]
[null,null,"T9454","1/2\" F.NPT","1/2\" F.NPT"]
[]
[null,"Click picture for more info","T9464ADA","\nTube Outside Diameter\nØ 0.675\"","3/8\" F.NPT","  Length of Pipe Stub\n\n  Inlet = 86.7mm\n"]
[null,null,"T9464ADAB"]
[null,null,"T9464ADAG"]
[null,null,"T9464ADAS"]
[]
[null,null,"T9464BADA","\nTube Outside Diameter\nØ 0.675\"","1/2\" BSP Tapered","  Length of Pipe Stub\n\n  Inlet = 86.7mm\n"]
[null,null,"T9464BADAB"]
[null,null,"T9464BADAG"]
[]
[null,null,"T9464BDA","\nTube Outside Diameter\nØ 0.675\"","1/2\" BSP Tapered","  Length of Pipe Stub\n\n  Inlet = 54.9mm\n"]
[null,null,"T9464BDAB"]
[null,null,"T9464BDAG"]
[]
[null,null,"T9464CA","\nTube Outside Diameter\nØ 0.675\"","3/8\" NPT","  Length of Pipe Stub\n\n  Inlet = 29.5mm\n"]
[null,null,"T9464CAG"]
[null,null,"T9464CAR"]
[null,null,"T9464CAS"]
[null,"Click picture for more info","T9464DA","\nTube Outside Diameter\nØ 0.675\"","3/8\" NPT","  Length of Pipe Stub\n\n  Inlet = 54.9mm\n"]
[null,null,"T9464DAB"]
[null,null,"T9464DAG"]
[null,null,"T9464DAS"]
[]
[null,null,"T9464EA","\nTube Outside Diameter\nØ 0.675\"","3/8\" NPT","  \nLength of Pipe Stub\n\n  Inlet = 73.0mm\n"]
[null,null,"T9464EAB"]
[]
[null,null,"T9464GCAG","\nTube Outside Diameter\nØ 0.675\"","1/2\" NPT"," Length = 29.5mm"]
[null,null,"T9464GDAS",null,null," Length = 54.9mm"]
[null,null,"T9464GADAB",null,null," Length = 86.7mm"]
[]
[null,null,"T9464HB50","\nTube Outside Diameter\nØ 0.675\"","3/8\" NPT"," Length = 50.0mm"]
[null,null,"T9464HB70",null,null," Length = 70.0mm"]
[]
[null,null,"T9464PADA","\nTube Outside Diameter\nØ 0.675\"","1/2\" BSP Parallel"," Length of Pipe Stub\n\nInlet = 86.7mm"]
[null,null,"T9464PADAB"]
[null,null,"T9464PADAG"]
[]
[null,null,"T9464PDA","\nTube Outside Diameter\nØ 0.675\"","1/2\" BSP Parallel","  Length of Pipe Stub\n\nInlet = 54.9mm"]
[null,null,"T9464PDAB"]
[null,null,"T9464PDAG"]
[]
[null,"Click picture for more info","T9464CCAG","Tube Outside Diameter\nØ 0.675\"","Outside Diameter\nØ 0.675\"","  Length of Pipe Stubs\n\n  Inlet = 29.5mm\n  oulet = 29.5mm"]
[]
[null,"Click picture for more info","T9464LAS","Tube Outside Diameter\nØ 0.675\"","Bent Tube - Ø 0.675\""]
[]
[null,"Click picture for more info","T9464LCB","Bent Tube - Ø 0.675\"","Outside Diameter\nØ 0.675\""]
[]
[null,"Click picture for more info","T9464LDR","Tube Outside Diameter\nØ 0.675\"","1/2\" Flared tube fitting \n45 ° elbow"]
[]
[null,"Click picture for more info","T9464LES","Tube Outside Diameter\nØ 0.813\"","3/8\" NPT"]
[]
[null,"Click picture for more info","T9464LJS","Cross Outside Diameter\nØ 0.675\"\n+\n2x connection \n1/4\" M.NPT ","1/2\" \nFlared Tube Fitting 37°"]
[null,"Click picture for more info","T9464LES","Cross Outside Diameter\nØ 0.675\"\n+\n2x connection \n1/4\" M.NPT ","3/8\" NPT"]
[]
[null,"ES Series"]
[null,"Click picture for more info","ES8452","1/4\" F.NPT","1/4\" F.NPT","TES8452 = Grafoil"]
[null,null,"ES8453","3/8\" F.NPT","3/8\" F.NPT","TES8453 = Grafoil"]
[null,null,"ES8454","1/2\" F.NPT","1/2\" F.NPT","TES8454 = Grafoil"]
[null,null,"ES8454B","1/2\" F.NPT","1/2\" F.NPT","TES8454B = Grafoil"]
[null,null,"ES8454G","1/2\" F.NPT","1/2\" F.NPT","TES8454G = Grafoil"]
[]
[null,"BK Series"]
[null,"Click picture for more info","BK 9452","1/4\" F.NPT","1/4\" F.NPT"]
[null,null,"BK 9453","3/8\" F.NPT","3/8\" F.NPT"]
[null,null,"BK 9454","1/2\" F.NPT","1/2\" F.NPT"]
[null,"Click picture for more info","BK 9453FA","Tube Outside Diameter\nØ 5/8\"","3/8\" F.NPT"]
[null,"Click picture for more info","BK 9475A\nSS Pipe Stubs","Tube Outside Diameter\nØ 5/8\"","5/8\" OD Tubing","Height A = 165mm\n\nDimension B = 63mm\n\nDimension C = 140mm"]
[]
[null,"Retrofit Spindle - RegO Short Stem Valves"]
[null,"Click picture for more info","ES8450R\nRetrofit Spindle",null,null,"Suitable to provide \nShort Stem Valves \ntype: 9450 and 9460 \nwith an Extended Stem"]
[null,"Click picture for more info","BK 9450R\nRetrofit Spindle",null,null,"Suitable to provide \nShort Stem Valves \ntype: 9450 and 9460 \nwith an Extended Stem"]
[]
[null,"Spare Parts for Short Stem Valves"]
[null,null,"T00946480","Silver handwheel"]
[null,null,"T00946480-B","Blue handwheel"]
[null,null,"T00946480-G","Green handwheel"]
[null,null,"T00946480-R","Red handwheel"]
[]
[]
[null,"Special Cylinder & Microbulk Valve-Models"]
[null,"Product Picture","RegO Part Nr.","Inlet Connection","Outlet Connection","Remarks"]
[]
[null,"Click picture for more info","T9454G2S","Pipe Stub 1/2\"\nPipe SCH.80\n\nButt Weld End SCH.10\nLength = 2\"","1/2\" F.NPT","Pipe Stubs\nAvailable Lengths:\n\nT9454G1S  -  L = 1\"\nT9454G2S  -  L = 2\"\nT9454G3S  -  L = 3\"\nT9454G4S  -  L = 4\"\nT9454G5S  -  L = 5\"\n\nAlso in Blue/Green/Red"]
[null,null,"T9454G2B"]
[null,null,"T9454G2G"]
[null,null,"T9454G2R"]
[]
[null,"Click picture for more info","T9464EE","Pipe Stub Ø 1/2\"\nPipe SCH.10\nWall thickness Ø0.84\n\nButt Weld End SCH.10","Pipe Stub Ø 1/2\"\nPipe SCH.10\nWall thickness Ø0.84\n\nButt Weld End SCH.10","  Pipe Stub Lengths:\n\n  Inlet     L = 1.50\"\n  Outlet  L = 1.50\"\n"]
[null,null,"T9464EEB"]
[null,null,"T9464EEG"]
[null,null,"T9464EER"]
[]
[null,"Click picture for more info","TBK9452","1/4\" F.NPT","1/4\" F.NPT"]
[null,null,"TBK9453","3/8\" F.NPT","3/8\" F.NPT"]
[null,null,"TBK9453ADA","Tube Outside Diameter\nØ 5/8\"\n\nSCH.10","3/8\" F.NPT","  Length of Pipe Stub\n\n  Inlet = 86.7mm\n"]
[null,null,"TBK9453ADAB"]
[null,null,"TBK9453ADAG"]
[null,null,"TBK9454","1/2\" F.NPT","1/2\" F.NPT"]
[null,null,"TBK9454ADA","Tube Outside Diameter\nØ 3/8\"\n\nSCH.10","1/2\" F.NPT","  Length of Pipe Stub\n\n  Inlet = 86.7mm\n"]
[null,null,"TBK9454ADAB"]
[null,null,"TBK9454ADAG"]
[]
[null,"Click picture for more info","TBK9454G2B","Pipe Stub Ø 1/2\"\nPipe SCH.80\n\nButt Weld End SCH.10\nLength = 2\"","1/2\" F.NPT","Pipe Stubs\nAvailable Lengths:\n\nTBK9454G1B  -  L = 1\"\nTBK9454G2B  -  L = 2\"\nTBK9454G3B  -  L = 3\"\nTBK9454G4B  -  L = 4\"\nTBK9454G5B  -  L = 5\"\nTBK9454G6B  -  L = 6\"\n\nAlso in Green & Red"]
[]
[null,"Click picture for more info","TBK9454H2B","Pipe Stub Ø 1/2\"\nPipe SCH.80\n\nButt Weld End SCH.10\nLength = 2\"","Pipe Stub Ø 1/2\"\nPipe SCH.80\n\nButt Weld End SCH.10\nLength = 2\"","Pipe Stubs\nAvailable Lengths:\n\nTBK9454H1B  -  L = 1\"\nTBK9454H2B  -  L = 2\"\nTBK9454H3B  -  L = 3\"\nTBK9454H4B  -  L = 4\"\nTBK9454H5B  -  L = 5\"\nTBK9454H6B  -  L = 6\"\n\nAlso in Silver"]
[null,null,"TBK9454H2G"]
[null,null,"TBK9454H2R"]

{"sheet":"T9450 & T9460 Series","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}

{"sheet":"T9464CCAG","index":2,"n_rows":1,"n_cols":1,"rows_kept":1,"cut":false,"hidden":false,"merged":[]}
["  "]

{"sheet":"T9464LAS & T9464LCB","index":3,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}

{"sheet":"T9464LDR & T9464LES","index":4,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}

{"sheet":"T9464EE","index":5,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}

{"sheet":"T9454G Series","index":6,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}

{"sheet":"ES8450 Series","index":7,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}

{"sheet":"ES+BK Series","index":8,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}

{"sheet":"Retrofit Spindles ES8450R 9450R","index":9,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}

{"sheet":"TBK 9450 Series","index":10,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}

{"sheet":"TBK9454G Ser","index":11,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}

{"sheet":"TBK9454H Ser","index":12,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}